## Working sheet
Mission: BCD2025667 (BBMP)
CHLOROPHYLL CALCULATION - various programs
Turner Designs Fluorometer #AZMP_03
CALIBRATION: March 8 2024 (MP)
Rb/Ra= | [6 empty] | Range | Cal.coef/Slope
2.2421 | [6 empty] | 1 | 56.5513
1.8051 | [6 empty] | 2 | 16.1575
1.8051 | [6 empty] | 3 | 4.6892
[7 empty] | 4 | 0.707
BLANKS | [6 empty] | 5 | 0.23412
Range | Value | Range | Value |  |  |  | 6 | 0.064908
1 | 0 | 5 | 0 |  |  |  | 7 | 0.020825
2 | 0 | 6 | 0 |  |  |  | 8 | 0.00674
3 | 0 | 7 | 0
4 | 0 | 8 | 0
| Std Filtered |  |  |  | Blk Corrected
I.D. | VOLUME | RANGE | Rb | Ra | Rb | Ra | CAL.COEF | CHL. | PHAE. | C+P | CHL/P. | MEAN C | MEAN P | Date | Depth (m) | Event | Comments
500890 | 100 | 7 | 3.05 | 1.6 | 3.05 | 1.6 | 0.020825 | 0.54507 | 0.20197 | 0.74703 | 2.6988 | 0.51687 | 0.19514 |  |  |  | Calibrating the trilogy units with this dataset
| 100 | 7 | 2.75 | 1.45 | 2.75 | 1.45 | 0.020825 | 0.48868 | 0.18832 | 0.677 | 2.5949
500891 | 100 | 6 | 6 | 3.1 | 6 | 3.1 | 0.064908 | 3.3979 | 1.1135 | 4.5114 | 3.0515 | 3.5443 | 0.93067
| 100 | 6 | 6.2 | 3.05 | 6.2 | 3.05 | 0.064908 | 3.6908 | 0.74783 | 4.4386 | 4.9353
500892 | 100 | 6 | 7.4 | 3.65 | 7.4 | 3.65 | 0.064908 | 4.3938 | 0.91799 | 5.3118 | 4.7863 | 4.3645 | 0.80175
| 100 | 6 | 7.15 | 3.45 | 7.15 | 3.45 | 0.064908 | 4.3352 | 0.68552 | 5.0207 | 6.324
500893 | 100 | 6 | 5.45 | 2.65 | 5.45 | 2.65 | 0.064908 | 3.2807 | 0.5758 | 3.8565 | 5.6976 | 3.1342 | 0.50397
| 100 | 6 | 4.9 | 2.35 | 4.9 | 2.35 | 0.064908 | 2.9878 | 0.43214 | 3.4199 | 6.914
500895 | 100 | 7 | 6.7 | 3.6 | 6.7 | 3.6 | 0.020825 | 1.1653 | 0.51551 | 1.6808 | 2.2605 | 1.2405 | 0.53371
| 100 | 7 | 7.5 | 4 | 7.5 | 4 | 0.020825 | 1.3157 | 0.55191 | 1.8676 | 2.3839
500896 | 100 | 5 | 4.05 | 2 | 4.05 | 2 | 0.23412 | 8.6636 | 1.8346 | 10.4982 | 4.7224 | 8.4523 | 2.0459
| 100 | 5 | 3.95 | 2 | 3.95 | 2 | 0.23412 | 8.241 | 2.2572 | 10.4982 | 3.651
500897 | 100 | 5 | 6.1 | 3 | 6.1 | 3 | 0.23412 | 13.1011 | 2.6462 | 15.7473 | 4.9509 | 12.8898 | 2.4638
| 100 | 5 | 5.85 | 2.85 | 5.85 | 2.85 | 0.23412 | 12.6785 | 2.2815 | 14.9599 | 5.5572
500898 | 100 | 4 | 3.15 | 1.55 | 3.15 | 1.55 | 0.707 | 20.4196 | 4.15 | 24.5696 | 4.9204 | 21.0577 | 3.9082
| 100 | 4 | 3.3 | 1.6 | 3.3 | 1.6 | 0.707 | 21.6958 | 3.6664 | 25.3622 | 5.9176
500900 | 100 | 6 | 2.75 | 1.6 | 2.75 | 1.6 | 0.064908 | 1.3474 | 0.98102 | 2.3284 | 1.3735 | 1.2888 | 0.93046
| 100 | 6 | 2.5 | 1.45 | 2.5 | 1.45 | 0.064908 | 1.2303 | 0.8799 | 2.1102 | 1.3982
500901 | 100 | 5 | 4.35 | 2.1 | 4.35 | 2.1 | 0.23412 | 9.5089 | 1.5143 | 11.0231 | 6.2795 | 9.4032 | 2.0136
| 100 | 5 | 4.45 | 2.25 | 4.45 | 2.25 | 0.23412 | 9.2976 | 2.5129 | 11.8105 | 3.6999
500902 | 100 | 4 | 3.9 | 1.9 | 3.9 | 1.9 | 0.707 | 25.5245 | 4.5931 | 30.1176 | 5.5572 | 25.2055 | 4.9121
| 100 | 4 | 3.85 | 1.9 | 3.85 | 1.9 | 0.707 | 24.8864 | 5.2312 | 30.1176 | 4.7573
500903 | 100 | 4 | 2 | 1 | 2 | 1 | 0.707 | 12.7623 | 3.0891 | 15.8514 | 4.1314 | 12.4432 | 3.0119
| 100 | 4 | 1.9 | 0.95 | 1.9 | 0.95 | 0.707 | 12.1241 | 2.9347 | 15.0588 | 4.1314
500905 | 100 | 6 | 3.25 | 1.8 | 3.25 | 1.8 | 0.064908 | 1.6989 | 0.92057 | 2.6195 | 1.8455 | 1.7282 | 0.92766
| 100 | 6 | 3.35 | 1.85 | 3.35 | 1.85 | 0.064908 | 1.7575 | 0.93475 | 2.6923 | 1.8802
500906 | 100 | 8 | 2.75 | 1.4 | 2.75 | 1.4 | 0.00674 | 0.16425 | 0.047312 | 0.21156 | 3.4716 | 0.16425 | 0.054868
| 100 | 8 | 2.85 | 1.5 | 2.85 | 1.5 | 0.00674 | 0.16425 | 0.062424 | 0.22667 | 2.6312
500907 | 100 | 5 | 4.3 | 2.15 | 4.3 | 2.15 | 0.23412 | 9.0862 | 2.1993 | 11.2856 | 4.1314 | 9.1919 | 2.3561
| 100 | 5 | 4.45 | 2.25 | 4.45 | 2.25 | 0.23412 | 9.2976 | 2.5129 | 11.8105 | 3.6999
500908 | 100 | 5 | 4.05 | 2.1 | 4.05 | 2.1 | 0.23412 | 8.241 | 2.7821 | 11.0231 | 2.9621 | 8.241 | 2.5197
| 100 | 5 | 3.95 | 2 | 3.95 | 2 | 0.23412 | 8.241 | 2.2572 | 10.4982 | 3.651
500910 | 100 | 6 | 3.45 | 2.1 | 3.45 | 2.1 | 0.064908 | 1.5818 | 1.4743 | 3.0561 | 1.0729 | 1.6111 | 1.445
| 100 | 6 | 3.5 | 2.1 | 3.5 | 2.1 | 0.064908 | 1.6403 | 1.4157 | 3.0561 | 1.1586
500911 | 100 | 5 | 5.2 | 2.7 | 5.2 | 2.7 | 0.23412 | 10.5654 | 3.6072 | 14.1726 | 2.929 | 10.4597 | 3.4504
| 100 | 5 | 5.05 | 2.6 | 5.05 | 2.6 | 0.23412 | 10.3541 | 3.2936 | 13.6477 | 3.1437
500912 | 100 | 5 | 3.3 | 1.8 | 3.3 | 1.8 | 0.23412 | 6.3392 | 3.1091 | 9.4484 | 2.0389 | 6.4449 | 3.2659
| 100 | 5 | 3.45 | 1.9 | 3.45 | 1.9 | 0.23412 | 6.5505 | 3.4227 | 9.9733 | 1.9138
500913 | 100 | 5 | 5.95 | 2.9 | 5.95 | 2.9 | 0.23412 | 12.8898 | 2.3326 | 15.2224 | 5.5259 | 12.6785 | 2.2815
| 100 | 5 | 5.75 | 2.8 | 5.75 | 2.8 | 0.23412 | 12.4672 | 2.2303 | 14.6975 | 5.5899
500915 | 100 | 7 | 3.3 | 2.25 | 3.3 | 2.25 | 0.020825 | 0.3947 | 0.65581 | 1.0505 | 0.60185 | 0.37591 | 0.68628 |  |  |  | Calibrating the trilogy units with this dataset
| 100 | 7 | 3.25 | 2.3 | 3.25 | 2.3 | 0.020825 | 0.35711 | 0.71675 | 1.0739 | 0.49824
500916 | 100 | 6 | 6.9 | 3.7 | 6.9 | 3.7 | 0.064908 | 3.7494 | 1.6352 | 5.3845 | 2.2929 | 3.7786 | 1.715
| 100 | 6 | 7.1 | 3.85 | 7.1 | 3.85 | 0.064908 | 3.8079 | 1.7949 | 5.6028 | 2.1216
500917 | 100 | 5 | 5.7 | 2.85 | 5.7 | 2.85 | 0.23412 | 12.0446 | 2.9154 | 14.9599 | 4.1314 | 12.0446 | 2.7842
| 100 | 5 | 5.65 | 2.8 | 5.65 | 2.8 | 0.23412 | 12.0446 | 2.6529 | 14.6975 | 4.5401
500918 | 100 | 5 | 7.4 | 3.65 | 7.4 | 3.65 | 0.23412 | 15.8481 | 3.3111 | 19.1592 | 4.7863 | 16.2707 | 3.151
| 100 | 5 | 7.7 | 3.75 | 7.7 | 3.75 | 0.23412 | 16.6933 | 2.9908 | 19.6841 | 5.5815
500920 | 100 | 7 | 2.6 | 1.8 | 2.6 | 1.8 | 0.020825 | 0.30073 | 0.53969 | 0.84041 | 0.55722 | 0.28193 | 0.53514
| 100 | 7 | 2.4 | 1.7 | 2.4 | 1.7 | 0.020825 | 0.26314 | 0.53059 | 0.79372 | 0.49593
500921 | 100 | 6 | 4.5 | 2.4 | 4.5 | 2.4 | 0.064908 | 2.4605 | 1.0322 | 3.4927 | 2.3839 | 2.4605 | 0.99577
| 100 | 6 | 4.45 | 2.35 | 4.45 | 2.35 | 0.064908 | 2.4605 | 0.95939 | 3.4199 | 2.5647
500922 | 100 | 5 | 4.45 | 2.25 | 4.45 | 2.25 | 0.23412 | 9.2976 | 2.5129 | 11.8105 | 3.6999 | 8.8749 | 2.6731
| 100 | 5 | 4.15 | 2.15 | 4.15 | 2.15 | 0.23412 | 8.4523 | 2.8333 | 11.2856 | 2.9833
500923 | 100 | 5 | 3.9 | 2 | 3.9 | 2 | 0.23412 | 8.0297 | 2.4685 | 10.4982 | 3.2529 | 8.3467 | 2.414
| 100 | 5 | 4.15 | 2.1 | 4.15 | 2.1 | 0.23412 | 8.6636 | 2.3595 | 11.0231 | 3.6718
500925 | 100 | 8 | 7.05 | 4.8 | 7.05 | 4.8 | 0.00674 | 0.27375 | 0.4516 | 0.72535 | 0.60617 | 0.292 | 0.49758
| 100 | 8 | 8.2 | 5.65 | 8.2 | 5.65 | 0.00674 | 0.31025 | 0.54355 | 0.8538 | 0.57078
500926 | 100 | 6 | 3.5 | 2 | 3.5 | 2 | 0.064908 | 1.7575 | 1.153 | 2.9106 | 1.5242 | 1.8161 | 1.0945
| 100 | 6 | 3.6 | 2 | 3.6 | 2 | 0.064908 | 1.8747 | 1.0359 | 2.9106 | 1.8097
500927 | 100 | 6 | 5.95 | 3.5 | 5.95 | 3.5 | 0.064908 | 2.8706 | 2.2229 | 5.0935 | 1.2914 | 2.8999 | 2.1936
| 100 | 6 | 6 | 3.5 | 6 | 3.5 | 0.064908 | 2.9292 | 2.1643 | 5.0935 | 1.3534
500928 | 100 | 7 | 5.45 | 3.5 | 5.45 | 3.5 | 0.020825 | 0.73302 | 0.90112 | 1.6341 | 0.81346 | 0.73302 | 0.94781
| 100 | 7 | 5.65 | 3.7 | 5.65 | 3.7 | 0.020825 | 0.73302 | 0.9945 | 1.7275 | 0.73708
500930 | 100 | 8 | 7.3 | 4.9 | 7.3 | 4.9 | 0.00674 | 0.292 | 0.44847 | 0.74046 | 0.6511 | 0.30112 | 0.49223
| 100 | 8 | 8.15 | 5.6 | 8.15 | 5.6 | 0.00674 | 0.31025 | 0.536 | 0.84624 | 0.57882
500931 | 100 | 7 | 6.3 | 3.65 | 6.3 | 3.65 | 0.020825 | 0.99616 | 0.70802 | 1.7042 | 1.407 | 0.99616 | 0.673
| 100 | 7 | 6.15 | 3.5 | 6.15 | 3.5 | 0.020825 | 0.99616 | 0.63798 | 1.6341 | 1.5614
500932 | 100 | 6 | 5.1 | 2.65 | 5.1 | 2.65 | 0.064908 | 2.8706 | 0.98589 | 3.8565 | 2.9117 | 2.8706 | 0.9495
| 100 | 6 | 5.05 | 2.6 | 5.05 | 2.6 | 0.064908 | 2.8706 | 0.91312 | 3.7837 | 3.1437
500933 | 100 | 6 | 2.7 | 1.4 | 2.7 | 1.4 | 0.064908 | 1.5232 | 0.51421 | 2.0374 | 2.9621 | 1.5525 | 0.55769
| 100 | 6 | 2.85 | 1.5 | 2.85 | 1.5 | 0.064908 | 1.5818 | 0.60116 | 2.1829 | 2.6312
500935 | 100 | 8 | 2 | 1.3 | 2 | 1.3 | 0.00674 | 0.085166 | 0.11128 | 0.19645 | 0.76531 | 0.097332 | 0.12178
| 100 | 8 | 2.5 | 1.6 | 2.5 | 1.6 | 0.00674 | 0.1095 | 0.13228 | 0.24178 | 0.82775
500936 | 100 | 5 | 3.9 | 2.4 | 3.9 | 2.4 | 0.23412 | 6.3392 | 6.2586 | 12.5978 | 1.0129 | 6.5505 | 6.0473
| 100 | 5 | 4 | 2.4 | 4 | 2.4 | 0.23412 | 6.7619 | 5.836 | 12.5978 | 1.1586
500937 | 100 | 5 | 4.05 | 2.35 | 4.05 | 2.35 | 0.23412 | 7.1845 | 5.1509 | 12.3354 | 1.3948 | 7.2901 | 4.914
| 100 | 5 | 4.05 | 2.3 | 4.05 | 2.3 | 0.23412 | 7.3958 | 4.6772 | 12.0729 | 1.5813
500938 | 100 | 6 | 6.55 | 3.35 | 6.55 | 3.35 | 0.064908 | 3.7494 | 1.1258 | 4.8752 | 3.3303 | 3.8665 | 1.1542
| 100 | 6 | 6.95 | 3.55 | 6.95 | 3.55 | 0.064908 | 3.9837 | 1.1825 | 5.1662 | 3.3687
500940 | 100 | 8 | 1.5 | 1.05 | 1.5 | 1.05 | 0.00674 | 0.05475 | 0.10392 | 0.15867 | 0.52684 | 0.060224 | 0.099202
| 100 | 8 | 1.6 | 1.06 | 1.6 | 1.06 | 0.00674 | 0.065699 | 0.094482 | 0.16018 | 0.69536
500941 | 100 | 5 | 2.35 | 1.45 | 2.35 | 1.45 | 0.23412 | 3.8035 | 3.8077 | 7.6112 | 0.99892 | 3.4866 | 3.0748
| 100 | 5 | 1.8 | 1.05 | 1.8 | 1.05 | 0.23412 | 3.1696 | 2.3419 | 5.5116 | 1.3534
500942 | 100 | 5 | 4.35 | 2.65 | 4.35 | 2.65 | 0.23412 | 7.1845 | 6.7257 | 13.9101 | 1.0682 | 7.0788 | 6.3064
| 100 | 5 | 4.1 | 2.45 | 4.1 | 2.45 | 0.23412 | 6.9732 | 5.8871 | 12.8603 | 1.1845
500943 | 100 | 6 | 3.05 | 1.65 | 3.05 | 1.65 | 0.064908 | 1.6403 | 0.76087 | 2.4012 | 2.1559 | 1.8747 | 0.85397
| 100 | 6 | 3.9 | 2.1 | 3.9 | 2.1 | 0.064908 | 2.109 | 0.94707 | 3.0561 | 2.2269
500945 | 100 | 7 | 2.9 | 2.3 | 2.9 | 2.3 | 0.020825 | 0.22554 | 0.84832 | 1.0739 | 0.26587 | 0.44169 | 0.94732
| 100 | 7 | 5.4 | 3.65 | 5.4 | 3.65 | 0.020825 | 0.65784 | 1.0463 | 1.7042 | 0.62871
500946 | 100 | 7 | 5.4 | 3.25 | 5.4 | 3.25 | 0.020825 | 0.8082 | 0.70921 | 1.5174 | 1.1396 | 0.72362 | 0.63038
| 100 | 7 | 4.25 | 2.55 | 4.25 | 2.55 | 0.020825 | 0.63904 | 0.55154 | 1.1906 | 1.1586
500947 | 100 | 5 | 3.85 | 2 | 3.85 | 2 | 0.23412 | 7.8184 | 2.6798 | 10.4982 | 2.9175 | 7.0788 | 2.5008
| 100 | 5 | 3.15 | 1.65 | 3.15 | 1.65 | 0.23412 | 6.3392 | 2.3218 | 8.661 | 2.7303
500948 | 100 | 5 | 3.2 | 1.7 | 3.2 | 1.7 | 0.23412 | 6.3392 | 2.5842 | 8.9235 | 2.453 | 6.3392 | 2.5842
| 100 | 5 | 3.2 | 1.7 | 3.2 | 1.7 | 0.23412 | 6.3392 | 2.5842 | 8.9235 | 2.453
500950 | 100 | 8 | 2.35 | 1.65 | 2.35 | 1.65 | 0.00674 | 0.085166 | 0.16417 | 0.24934 | 0.51876 | 0.079083 | 0.15515
| 100 | 8 | 2.05 | 1.45 | 2.05 | 1.45 | 0.00674 | 0.072999 | 0.14612 | 0.21912 | 0.49959
500951 | 100 | 5 | 2.05 | 1.05 | 2.05 | 1.05 | 0.23412 | 4.2262 | 1.2854 | 5.5116 | 3.2878 | 4.2262 | 1.1542
| 100 | 5 | 2 | 1 | 2 | 1 | 0.23412 | 4.2262 | 1.0229 | 5.2491 | 4.1314
500952 | 100 | 5 | 4.2 | 2.15 | 4.2 | 2.15 | 0.23412 | 8.6636 | 2.6219 | 11.2856 | 3.3043 | 8.9806 | 2.4362
| 100 | 5 | 4.4 | 2.2 | 4.4 | 2.2 | 0.23412 | 9.2976 | 2.2505 | 11.548 | 4.1314
500953 | 100 | 5 | 1.9 | 1 | 1.9 | 1 | 0.23412 | 3.8035 | 1.4456 | 5.2491 | 2.6312 | 3.5922 | 1.5256
| 100 | 5 | 1.75 | 0.95 | 1.75 | 0.95 | 0.23412 | 3.3809 | 1.6057 | 4.9866 | 2.1056
Note on O19: Proudfoot, Maddison: Collection date

## Final Values Only
Mission: BCD2025667 (BBMP)
CHLOROPHYLL CALCULATION - various programs
Turner Designs Fluorometer #AZMP_03
CALIBRATION: March 8 2024 (MP)
| Std Filtered |  |  |  | Blk Corrected
I.D. | VOLUME | RANGE | Rb | Ra | Rb | Ra | CAL.COEF | CHL. | PHAE. | C+P | CHL/P. | MEAN C | MEAN P | Date | Depth (m) | Event | Comments
500890 | 100 | 7 | 3.05 | 1.6 | 3.05 | 1.6 | 0.020825 | 0.54507 | 0.20197 | 0.74703 | 2.6988 | 0.51687 | 0.19514 |  |  |  | Calibrating the trilogy units with this dataset
| 100 | 7 | 2.75 | 1.45 | 2.75 | 1.45 | 0.020825 | 0.48868 | 0.18832 | 0.677 | 2.5949
500891 | 100 | 6 | 6 | 3.1 | 6 | 3.1 | 0.064908 | 3.3979 | 1.1135 | 4.5114 | 3.0515 | 3.5443 | 0.93067
| 100 | 6 | 6.2 | 3.05 | 6.2 | 3.05 | 0.064908 | 3.6908 | 0.74783 | 4.4386 | 4.9353
500892 | 100 | 6 | 7.4 | 3.65 | 7.4 | 3.65 | 0.064908 | 4.3938 | 0.91799 | 5.3118 | 4.7863 | 4.3645 | 0.80175
| 100 | 6 | 7.15 | 3.45 | 7.15 | 3.45 | 0.064908 | 4.3352 | 0.68552 | 5.0207 | 6.324
500893 | 100 | 6 | 5.45 | 2.65 | 5.45 | 2.65 | 0.064908 | 3.2807 | 0.5758 | 3.8565 | 5.6976 | 3.1342 | 0.50397
| 100 | 6 | 4.9 | 2.35 | 4.9 | 2.35 | 0.064908 | 2.9878 | 0.43214 | 3.4199 | 6.914
500895 | 100 | 7 | 6.7 | 3.6 | 6.7 | 3.6 | 0.020825 | 1.1653 | 0.51551 | 1.6808 | 2.2605 | 1.2405 | 0.53371
| 100 | 7 | 7.5 | 4 | 7.5 | 4 | 0.020825 | 1.3157 | 0.55191 | 1.8676 | 2.3839
500896 | 100 | 5 | 4.05 | 2 | 4.05 | 2 | 0.23412 | 8.6636 | 1.8346 | 10.4982 | 4.7224 | 8.4523 | 2.0459
| 100 | 5 | 3.95 | 2 | 3.95 | 2 | 0.23412 | 8.241 | 2.2572 | 10.4982 | 3.651
500897 | 100 | 5 | 6.1 | 3 | 6.1 | 3 | 0.23412 | 13.1011 | 2.6462 | 15.7473 | 4.9509 | 12.8898 | 2.4638
| 100 | 5 | 5.85 | 2.85 | 5.85 | 2.85 | 0.23412 | 12.6785 | 2.2815 | 14.9599 | 5.5572
500898 | 100 | 4 | 3.15 | 1.55 | 3.15 | 1.55 | 0.707 | 20.4196 | 4.15 | 24.5696 | 4.9204 | 21.0577 | 3.9082
| 100 | 4 | 3.3 | 1.6 | 3.3 | 1.6 | 0.707 | 21.6958 | 3.6664 | 25.3622 | 5.9176
500900 | 100 | 6 | 2.75 | 1.6 | 2.75 | 1.6 | 0.064908 | 1.3474 | 0.98102 | 2.3284 | 1.3735 | 1.2888 | 0.93046
| 100 | 6 | 2.5 | 1.45 | 2.5 | 1.45 | 0.064908 | 1.2303 | 0.8799 | 2.1102 | 1.3982
500901 | 100 | 5 | 4.35 | 2.1 | 4.35 | 2.1 | 0.23412 | 9.5089 | 1.5143 | 11.0231 | 6.2795 | 9.4032 | 2.0136
| 100 | 5 | 4.45 | 2.25 | 4.45 | 2.25 | 0.23412 | 9.2976 | 2.5129 | 11.8105 | 3.6999
500902 | 100 | 4 | 3.9 | 1.9 | 3.9 | 1.9 | 0.707 | 25.5245 | 4.5931 | 30.1176 | 5.5572 | 25.2055 | 4.9121
| 100 | 4 | 3.85 | 1.9 | 3.85 | 1.9 | 0.707 | 24.8864 | 5.2312 | 30.1176 | 4.7573
500903 | 100 | 4 | 2 | 1 | 2 | 1 | 0.707 | 12.7623 | 3.0891 | 15.8514 | 4.1314 | 12.4432 | 3.0119
| 100 | 4 | 1.9 | 0.95 | 1.9 | 0.95 | 0.707 | 12.1241 | 2.9347 | 15.0588 | 4.1314
500905 | 100 | 6 | 3.25 | 1.8 | 3.25 | 1.8 | 0.064908 | 1.6989 | 0.92057 | 2.6195 | 1.8455 | 1.7282 | 0.92766
| 100 | 6 | 3.35 | 1.85 | 3.35 | 1.85 | 0.064908 | 1.7575 | 0.93475 | 2.6923 | 1.8802
500906 | 100 | 8 | 2.75 | 1.4 | 2.75 | 1.4 | 0.00674 | 0.16425 | 0.047312 | 0.21156 | 3.4716 | 0.16425 | 0.054868
| 100 | 8 | 2.85 | 1.5 | 2.85 | 1.5 | 0.00674 | 0.16425 | 0.062424 | 0.22667 | 2.6312
500907 | 100 | 5 | 4.3 | 2.15 | 4.3 | 2.15 | 0.23412 | 9.0862 | 2.1993 | 11.2856 | 4.1314 | 9.1919 | 2.3561
| 100 | 5 | 4.45 | 2.25 | 4.45 | 2.25 | 0.23412 | 9.2976 | 2.5129 | 11.8105 | 3.6999
500908 | 100 | 5 | 4.05 | 2.1 | 4.05 | 2.1 | 0.23412 | 8.241 | 2.7821 | 11.0231 | 2.9621 | 8.241 | 2.5197
| 100 | 5 | 3.95 | 2 | 3.95 | 2 | 0.23412 | 8.241 | 2.2572 | 10.4982 | 3.651
500910 | 100 | 6 | 3.45 | 2.1 | 3.45 | 2.1 | 0.064908 | 1.5818 | 1.4743 | 3.0561 | 1.0729 | 1.6111 | 1.445
| 100 | 6 | 3.5 | 2.1 | 3.5 | 2.1 | 0.064908 | 1.6403 | 1.4157 | 3.0561 | 1.1586
500911 | 100 | 5 | 5.2 | 2.7 | 5.2 | 2.7 | 0.23412 | 10.5654 | 3.6072 | 14.1726 | 2.929 | 10.4597 | 3.4504
| 100 | 5 | 5.05 | 2.6 | 5.05 | 2.6 | 0.23412 | 10.3541 | 3.2936 | 13.6477 | 3.1437
500912 | 100 | 5 | 3.3 | 1.8 | 3.3 | 1.8 | 0.23412 | 6.3392 | 3.1091 | 9.4484 | 2.0389 | 6.4449 | 3.2659
| 100 | 5 | 3.45 | 1.9 | 3.45 | 1.9 | 0.23412 | 6.5505 | 3.4227 | 9.9733 | 1.9138
500913 | 100 | 5 | 5.95 | 2.9 | 5.95 | 2.9 | 0.23412 | 12.8898 | 2.3326 | 15.2224 | 5.5259 | 12.6785 | 2.2815
| 100 | 5 | 5.75 | 2.8 | 5.75 | 2.8 | 0.23412 | 12.4672 | 2.2303 | 14.6975 | 5.5899
500915 | 100 | 7 | 3.3 | 2.25 | 3.3 | 2.25 | 0.020825 | 0.3947 | 0.65581 | 1.0505 | 0.60185 | 0.37591 | 0.68628 |  |  |  | Calibrating the trilogy units with this dataset
| 100 | 7 | 3.25 | 2.3 | 3.25 | 2.3 | 0.020825 | 0.35711 | 0.71675 | 1.0739 | 0.49824
500916 | 100 | 6 | 6.9 | 3.7 | 6.9 | 3.7 | 0.064908 | 3.7494 | 1.6352 | 5.3845 | 2.2929 | 3.7786 | 1.715
| 100 | 6 | 7.1 | 3.85 | 7.1 | 3.85 | 0.064908 | 3.8079 | 1.7949 | 5.6028 | 2.1216
500917 | 100 | 5 | 5.7 | 2.85 | 5.7 | 2.85 | 0.23412 | 12.0446 | 2.9154 | 14.9599 | 4.1314 | 12.0446 | 2.7842
| 100 | 5 | 5.65 | 2.8 | 5.65 | 2.8 | 0.23412 | 12.0446 | 2.6529 | 14.6975 | 4.5401
500918 | 100 | 5 | 7.4 | 3.65 | 7.4 | 3.65 | 0.23412 | 15.8481 | 3.3111 | 19.1592 | 4.7863 | 16.2707 | 3.151
| 100 | 5 | 7.7 | 3.75 | 7.7 | 3.75 | 0.23412 | 16.6933 | 2.9908 | 19.6841 | 5.5815
500920 | 100 | 7 | 2.6 | 1.8 | 2.6 | 1.8 | 0.020825 | 0.30073 | 0.53969 | 0.84041 | 0.55722 | 0.28193 | 0.53514
| 100 | 7 | 2.4 | 1.7 | 2.4 | 1.7 | 0.020825 | 0.26314 | 0.53059 | 0.79372 | 0.49593
500921 | 100 | 6 | 4.5 | 2.4 | 4.5 | 2.4 | 0.064908 | 2.4605 | 1.0322 | 3.4927 | 2.3839 | 2.4605 | 0.99577
| 100 | 6 | 4.45 | 2.35 | 4.45 | 2.35 | 0.064908 | 2.4605 | 0.95939 | 3.4199 | 2.5647
500922 | 100 | 5 | 4.45 | 2.25 | 4.45 | 2.25 | 0.23412 | 9.2976 | 2.5129 | 11.8105 | 3.6999 | 8.8749 | 2.6731
| 100 | 5 | 4.15 | 2.15 | 4.15 | 2.15 | 0.23412 | 8.4523 | 2.8333 | 11.2856 | 2.9833
500923 | 100 | 5 | 3.9 | 2 | 3.9 | 2 | 0.23412 | 8.0297 | 2.4685 | 10.4982 | 3.2529 | 8.3467 | 2.414
| 100 | 5 | 4.15 | 2.1 | 4.15 | 2.1 | 0.23412 | 8.6636 | 2.3595 | 11.0231 | 3.6718
500925 | 100 | 8 | 7.05 | 4.8 | 7.05 | 4.8 | 0.00674 | 0.27375 | 0.4516 | 0.72535 | 0.60617 | 0.292 | 0.49758
| 100 | 8 | 8.2 | 5.65 | 8.2 | 5.65 | 0.00674 | 0.31025 | 0.54355 | 0.8538 | 0.57078
500926 | 100 | 6 | 3.5 | 2 | 3.5 | 2 | 0.064908 | 1.7575 | 1.153 | 2.9106 | 1.5242 | 1.8161 | 1.0945
| 100 | 6 | 3.6 | 2 | 3.6 | 2 | 0.064908 | 1.8747 | 1.0359 | 2.9106 | 1.8097
500927 | 100 | 6 | 5.95 | 3.5 | 5.95 | 3.5 | 0.064908 | 2.8706 | 2.2229 | 5.0935 | 1.2914 | 2.8999 | 2.1936
| 100 | 6 | 6 | 3.5 | 6 | 3.5 | 0.064908 | 2.9292 | 2.1643 | 5.0935 | 1.3534
500928 | 100 | 7 | 5.45 | 3.5 | 5.45 | 3.5 | 0.020825 | 0.73302 | 0.90112 | 1.6341 | 0.81346 | 0.73302 | 0.94781
| 100 | 7 | 5.65 | 3.7 | 5.65 | 3.7 | 0.020825 | 0.73302 | 0.9945 | 1.7275 | 0.73708
500930 | 100 | 8 | 7.3 | 4.9 | 7.3 | 4.9 | 0.00674 | 0.292 | 0.44847 | 0.74046 | 0.6511 | 0.30112 | 0.49223
| 100 | 8 | 8.15 | 5.6 | 8.15 | 5.6 | 0.00674 | 0.31025 | 0.536 | 0.84624 | 0.57882
500931 | 100 | 7 | 6.3 | 3.65 | 6.3 | 3.65 | 0.020825 | 0.99616 | 0.70802 | 1.7042 | 1.407 | 0.99616 | 0.673
| 100 | 7 | 6.15 | 3.5 | 6.15 | 3.5 | 0.020825 | 0.99616 | 0.63798 | 1.6341 | 1.5614
500932 | 100 | 6 | 5.1 | 2.65 | 5.1 | 2.65 | 0.064908 | 2.8706 | 0.98589 | 3.8565 | 2.9117 | 2.8706 | 0.9495
| 100 | 6 | 5.05 | 2.6 | 5.05 | 2.6 | 0.064908 | 2.8706 | 0.91312 | 3.7837 | 3.1437
500933 | 100 | 6 | 2.7 | 1.4 | 2.7 | 1.4 | 0.064908 | 1.5232 | 0.51421 | 2.0374 | 2.9621 | 1.5525 | 0.55769
| 100 | 6 | 2.85 | 1.5 | 2.85 | 1.5 | 0.064908 | 1.5818 | 0.60116 | 2.1829 | 2.6312
500935 | 100 | 8 | 2 | 1.3 | 2 | 1.3 | 0.00674 | 0.085166 | 0.11128 | 0.19645 | 0.76531 | 0.097332 | 0.12178
| 100 | 8 | 2.5 | 1.6 | 2.5 | 1.6 | 0.00674 | 0.1095 | 0.13228 | 0.24178 | 0.82775
500936 | 100 | 5 | 3.9 | 2.4 | 3.9 | 2.4 | 0.23412 | 6.3392 | 6.2586 | 12.5978 | 1.0129 | 6.5505 | 6.0473
| 100 | 5 | 4 | 2.4 | 4 | 2.4 | 0.23412 | 6.7619 | 5.836 | 12.5978 | 1.1586
500937 | 100 | 5 | 4.05 | 2.35 | 4.05 | 2.35 | 0.23412 | 7.1845 | 5.1509 | 12.3354 | 1.3948 | 7.2901 | 4.914
| 100 | 5 | 4.05 | 2.3 | 4.05 | 2.3 | 0.23412 | 7.3958 | 4.6772 | 12.0729 | 1.5813
500938 | 100 | 6 | 6.55 | 3.35 | 6.55 | 3.35 | 0.064908 | 3.7494 | 1.1258 | 4.8752 | 3.3303 | 3.8665 | 1.1542
| 100 | 6 | 6.95 | 3.55 | 6.95 | 3.55 | 0.064908 | 3.9837 | 1.1825 | 5.1662 | 3.3687
500940 | 100 | 8 | 1.5 | 1.05 | 1.5 | 1.05 | 0.00674 | 0.05475 | 0.10392 | 0.15867 | 0.52684 | 0.060224 | 0.099202
| 100 | 8 | 1.6 | 1.06 | 1.6 | 1.06 | 0.00674 | 0.065699 | 0.094482 | 0.16018 | 0.69536
500941 | 100 | 5 | 2.35 | 1.45 | 2.35 | 1.45 | 0.23412 | 3.8035 | 3.8077 | 7.6112 | 0.99892 | 3.4866 | 3.0748
| 100 | 5 | 1.8 | 1.05 | 1.8 | 1.05 | 0.23412 | 3.1696 | 2.3419 | 5.5116 | 1.3534
500942 | 100 | 5 | 4.35 | 2.65 | 4.35 | 2.65 | 0.23412 | 7.1845 | 6.7257 | 13.9101 | 1.0682 | 7.0788 | 6.3064
| 100 | 5 | 4.1 | 2.45 | 4.1 | 2.45 | 0.23412 | 6.9732 | 5.8871 | 12.8603 | 1.1845
500943 | 100 | 6 | 3.05 | 1.65 | 3.05 | 1.65 | 0.064908 | 1.6403 | 0.76087 | 2.4012 | 2.1559 | 1.8747 | 0.85397
| 100 | 6 | 3.9 | 2.1 | 3.9 | 2.1 | 0.064908 | 2.109 | 0.94707 | 3.0561 | 2.2269
500945 | 100 | 7 | 2.9 | 2.3 | 2.9 | 2.3 | 0.020825 | 0.22554 | 0.84832 | 1.0739 | 0.26587 | 0.44169 | 0.94732
| 100 | 7 | 5.4 | 3.65 | 5.4 | 3.65 | 0.020825 | 0.65784 | 1.0463 | 1.7042 | 0.62871
500946 | 100 | 7 | 5.4 | 3.25 | 5.4 | 3.25 | 0.020825 | 0.8082 | 0.70921 | 1.5174 | 1.1396 | 0.72362 | 0.63038
| 100 | 7 | 4.25 | 2.55 | 4.25 | 2.55 | 0.020825 | 0.63904 | 0.55154 | 1.1906 | 1.1586
500947 | 100 | 5 | 3.85 | 2 | 3.85 | 2 | 0.23412 | 7.8184 | 2.6798 | 10.4982 | 2.9175 | 7.0788 | 2.5008
| 100 | 5 | 3.15 | 1.65 | 3.15 | 1.65 | 0.23412 | 6.3392 | 2.3218 | 8.661 | 2.7303
500948 | 100 | 5 | 3.2 | 1.7 | 3.2 | 1.7 | 0.23412 | 6.3392 | 2.5842 | 8.9235 | 2.453 | 6.3392 | 2.5842
| 100 | 5 | 3.2 | 1.7 | 3.2 | 1.7 | 0.23412 | 6.3392 | 2.5842 | 8.9235 | 2.453
500950 | 100 | 8 | 2.35 | 1.65 | 2.35 | 1.65 | 0.00674 | 0.085166 | 0.16417 | 0.24934 | 0.51876 | 0.079083 | 0.15515
| 100 | 8 | 2.05 | 1.45 | 2.05 | 1.45 | 0.00674 | 0.072999 | 0.14612 | 0.21912 | 0.49959
500951 | 100 | 5 | 2.05 | 1.05 | 2.05 | 1.05 | 0.23412 | 4.2262 | 1.2854 | 5.5116 | 3.2878 | 4.2262 | 1.1542
| 100 | 5 | 2 | 1 | 2 | 1 | 0.23412 | 4.2262 | 1.0229 | 5.2491 | 4.1314
500952 | 100 | 5 | 4.2 | 2.15 | 4.2 | 2.15 | 0.23412 | 8.6636 | 2.6219 | 11.2856 | 3.3043 | 8.9806 | 2.4362
| 100 | 5 | 4.4 | 2.2 | 4.4 | 2.2 | 0.23412 | 9.2976 | 2.2505 | 11.548 | 4.1314
500953 | 100 | 5 | 1.9 | 1 | 1.9 | 1 | 0.23412 | 3.8035 | 1.4456 | 5.2491 | 2.6312 | 3.5922 | 1.5256
| 100 | 5 | 1.75 | 0.95 | 1.75 | 0.95 | 0.23412 | 3.3809 | 1.6057 | 4.9866 | 2.1056
Note on O7: Proudfoot, Maddison: Collection date