## Working sheet
Mission: BCD2025667
CHLOROPHYLL CALCULATION - various programs
Turner Designs Fluorometer #AZMP_03
CALIBRATION: June 26 2025 (MP)
Rb/Ra= | [6 empty] | Range | Cal.coef/Slope
2.3573 | [6 empty] | 1 | 51.7834
1.7368 | [6 empty] | 2 | 14.9847
1.7368 | [6 empty] | 3 | 3.0739
[7 empty] | 4 | 0.67233
BLANKS | [6 empty] | 5 | 0.20893
Range | Value | Range | Value |  |  |  | 6 | 0.059029
1 | 0 | 5 | 0 |  |  |  | 7 | 0.021015
2 | 0 | 6 | 0 |  |  |  | 8 | 0.0021853
3 | 0 | 7 | 0
4 | 0 | 8 | 0
| Std Filtered |  |  |  | Blk Corrected
SAMPLE_ID | VOLUME | RANGE | Rb | Ra | Rb | Ra | CAL.COEF | CHL. | PHAE. | C+P | CHL/P. | MEAN C | MEAN P | Comments
500975 | 100 | 7 | 4.9 | 2.75 | 4.9 | 2.75 | 0.021015 | 0.78471 | 0.57758 | 1.3623 | 1.3586 | 0.81209 | 0.5502
| 100 | 7 | 5.05 | 2.75 | 5.05 | 2.75 | 0.021015 | 0.83946 | 0.52283 | 1.3623 | 1.6056
500976 | 100 | 5 | 5.35 | 2.9 | 5.35 | 2.9 | 0.20893 | 8.8903 | 5.3925 | 14.2828 | 1.6487 | 9.3439 | 5.1851
| 100 | 5 | 5.7 | 3 | 5.7 | 3 | 0.20893 | 9.7975 | 4.9778 | 14.7753 | 1.9682
500977 | 100 | 5 | 3.2 | 1.75 | 3.2 | 1.75 | 0.20893 | 5.2616 | 3.3573 | 8.6189 | 1.5672 | 5.1709 | 3.3249
| 100 | 5 | 3.1 | 1.7 | 3.1 | 1.7 | 0.20893 | 5.0802 | 3.2925 | 8.3727 | 1.543
500978 | 100 | 5 | 3.3 | 1.75 | 3.3 | 1.75 | 0.20893 | 5.6245 | 2.9944 | 8.6189 | 1.8783 | 5.5338 | 2.7158
| 100 | 5 | 3.1 | 1.6 | 3.1 | 1.6 | 0.20893 | 5.443 | 2.4371 | 7.8802 | 2.2334
500980 | 100 | 7 | 2.95 | 1.65 | 2.95 | 1.65 | 0.021015 | 0.47448 | 0.3429 | 0.81737 | 1.3837 | 0.52923 | 0.41199
| 100 | 7 | 3.75 | 2.15 | 3.75 | 2.15 | 0.021015 | 0.58397 | 0.48109 | 1.0651 | 1.2139
500981 | 100 | 5 | 2.85 | 1.5 | 2.85 | 1.5 | 0.20893 | 4.8987 | 2.4889 | 7.3876 | 1.9682 | 5.1709 | 2.3399
| 100 | 5 | 3.05 | 1.55 | 3.05 | 1.55 | 0.20893 | 5.443 | 2.1909 | 7.6339 | 2.4844
500982 | 100 | 5 | 2.65 | 1.3 | 2.65 | 1.3 | 0.20893 | 4.8987 | 1.5039 | 6.4026 | 3.2574 | 4.9895 | 1.9057
| 100 | 5 | 2.9 | 1.5 | 2.9 | 1.5 | 0.20893 | 5.0802 | 2.3075 | 7.3876 | 2.2016
500983 | 100 | 5 | 2.2 | 1.1 | 2.2 | 1.1 | 0.20893 | 3.9916 | 1.426 | 5.4176 | 2.7991 | 3.8101 | 1.4843
| 100 | 5 | 2.05 | 1.05 | 2.05 | 1.05 | 0.20893 | 3.6287 | 1.5427 | 5.1713 | 2.3522
500985 | 100 | 7 | 4.45 | 2.45 | 4.45 | 2.45 | 0.021015 | 0.72997 | 0.48371 | 1.2137 | 1.5091 | 0.69347 | 0.48306
| 100 | 7 | 4.1 | 2.3 | 4.1 | 2.3 | 0.021015 | 0.65697 | 0.4824 | 1.1394 | 1.3619
500986 | 100 | 4 | 2 | 1 | 2 | 1 | 0.67233 | 11.6769 | 4.1717 | 15.8486 | 2.7991 | 11.093 | 4.3593
| 100 | 4 | 1.85 | 0.95 | 1.85 | 0.95 | 0.67233 | 10.5092 | 4.547 | 15.0562 | 2.3112
500987 | 100 | 5 | 3.5 | 1.85 | 3.5 | 1.85 | 0.20893 | 5.9873 | 3.1241 | 9.1114 | 1.9165 | 5.7152 | 2.6575
| 100 | 5 | 3.05 | 1.55 | 3.05 | 1.55 | 0.20893 | 5.443 | 2.1909 | 7.6339 | 2.4844
500988 | 100 | 6 | 5.5 | 2.85 | 5.5 | 2.85 | 0.059029 | 2.7168 | 1.2489 | 3.9657 | 2.1753 | 2.6142 | 1.2818
| 100 | 6 | 5.2 | 2.75 | 5.2 | 2.75 | 0.059029 | 2.5117 | 1.3148 | 3.8265 | 1.9104
500990 | 100 | 6 | 2.05 | 1.1 | 2.05 | 1.1 | 0.059029 | 0.97393 | 0.55667 | 1.5306 | 1.7496 | 0.87141 | 0.48526
| 100 | 6 | 1.6 | 0.85 | 1.6 | 0.85 | 0.059029 | 0.7689 | 0.41384 | 1.1827 | 1.8579
500991 | 100 | 5 | 2 | 1.05 | 2 | 1.05 | 0.20893 | 3.4473 | 1.7241 | 5.1713 | 1.9995 | 3.3565 | 1.8148
| 100 | 5 | 1.95 | 1.05 | 1.95 | 1.05 | 0.20893 | 3.2658 | 1.9055 | 5.1713 | 1.7139
500992 | 100 | 5 | 4 | 2.05 | 4 | 2.05 | 0.20893 | 7.076 | 3.0205 | 10.0964 | 2.3427 | 7.2574 | 3.0853
| 100 | 5 | 4.2 | 2.15 | 4.2 | 2.15 | 0.20893 | 7.4388 | 3.1501 | 10.589 | 2.3614
500993 | 100 | 5 | 2.05 | 1.05 | 2.05 | 1.05 | 0.20893 | 3.6287 | 1.5427 | 5.1713 | 2.3522 | 3.6287 | 1.5427
| 100 | 5 | 2.05 | 1.05 | 2.05 | 1.05 | 0.20893 | 3.6287 | 1.5427 | 5.1713 | 2.3522
500995 | 100 | 7 | 5.9 | 4.8 | 5.9 | 4.8 | 0.021015 | 0.40148 | 1.9763 | 2.3778 | 0.20314 | 0.40148 | 1.9763
| 100 | 7 | [11 empty] | Sample lost!
500996 | 100 | 4 | 2 | 1 | 2 | 1 | 0.67233 | 11.6769 | 4.1717 | 15.8486 | 2.7991 | 10.5092 | 3.3583
| 100 | 4 | 1.55 | 0.75 | 1.55 | 0.75 | 0.67233 | 9.3415 | 2.5449 | 11.8864 | 3.6706
500997 | 100 | 5 | 3.4 | 1.7 | 3.4 | 1.7 | 0.20893 | 6.1688 | 2.2039 | 8.3727 | 2.7991 | 5.6245 | 2.2557
| 100 | 5 | 2.9 | 1.5 | 2.9 | 1.5 | 0.20893 | 5.0802 | 2.3075 | 7.3876 | 2.2016
500998 | 100 | 6 | 5.5 | 2.7 | 5.5 | 2.7 | 0.059029 | 2.8705 | 0.88639 | 3.7569 | 3.2384 | 2.7937 | 1.1024
| 100 | 6 | 5.55 | 2.9 | 5.55 | 2.9 | 0.059029 | 2.7168 | 1.3185 | 4.0352 | 2.0606
507065 | 100 | 7 | 3.3 | 1.8 | 3.3 | 1.8 | 0.021015 | 0.54747 | 0.34421 | 0.89168 | 1.5905 | 0.54747 | 0.31944
| 100 | 7 | 3.2 | 1.7 | 3.2 | 1.7 | 0.021015 | 0.54747 | 0.29467 | 0.84214 | 1.8579
507066 | 100 | 5 | 4.75 | 2.6 | 4.75 | 2.6 | 0.20893 | 7.8017 | 5.0036 | 12.8052 | 1.5592 | 7.8924 | 5.036
| 100 | 5 | 4.85 | 2.65 | 4.85 | 2.65 | 0.20893 | 7.9831 | 5.0684 | 13.0515 | 1.5751
507067 | 100 | 5 | 2.8 | 1.5 | 2.8 | 1.5 | 0.20893 | 4.7173 | 2.6703 | 7.3876 | 1.7666 | 4.808 | 2.8259
| 100 | 5 | 2.95 | 1.6 | 2.95 | 1.6 | 0.20893 | 4.8987 | 2.9814 | 7.8802 | 1.6431
507068 | 100 | 6 | 6.95 | 3.6 | 6.95 | 3.6 | 0.059029 | 3.4344 | 1.5748 | 5.0092 | 2.1808 | 3.4857 | 1.4192
| 100 | 6 | 6.9 | 3.45 | 6.9 | 3.45 | 0.059029 | 3.5369 | 1.2636 | 4.8005 | 2.7991
507070 | 100 | 8 | 6.9 | 4 | 6.9 | 4 | 0.0021853 | 0.11007 | 0.095987 | 0.20605 | 1.1467 | 0.10153 | 0.095511
| 100 | 8 | 6.1 | 3.65 | 6.1 | 3.65 | 0.0021853 | 0.092986 | 0.095036 | 0.18802 | 0.97843
507071 | 100 | 5 | 4.2 | 2.4 | 4.2 | 2.4 | 0.20893 | 6.5317 | 5.2886 | 11.8202 | 1.235 | 6.8945 | 5.172
| 100 | 5 | 4.5 | 2.5 | 4.5 | 2.5 | 0.20893 | 7.2574 | 5.0553 | 12.3127 | 1.4356
507072 | 100 | 5 | 2.95 | 1.65 | 2.95 | 1.65 | 0.20893 | 4.7173 | 3.4091 | 8.1264 | 1.3837 | 4.6266 | 3.1304
| 100 | 5 | 2.75 | 1.5 | 2.75 | 1.5 | 0.20893 | 4.5359 | 2.8518 | 7.3876 | 1.5905
507073 | 100 | 5 | 2.85 | 1.55 | 2.85 | 1.55 | 0.20893 | 4.7173 | 2.9166 | 7.6339 | 1.6174 | 4.808 | 2.8259
| 100 | 5 | 2.9 | 1.55 | 2.9 | 1.55 | 0.20893 | 4.8987 | 2.7352 | 7.6339 | 1.791
507075 | 100 | 8 | 3.65 | 2.7 | 3.65 | 2.7 | 0.0021853 | 0.036056 | 0.10303 | 0.13909 | 0.34996 | 0.041749 | 0.099912
| 100 | 8 | 4.05 | 2.8 | 4.05 | 2.8 | 0.0021853 | 0.047442 | 0.096794 | 0.14424 | 0.49013
507076 | 100 | 5 | 3.7 | 2.05 | 3.7 | 2.05 | 0.20893 | 5.9873 | 4.1091 | 10.0964 | 1.4571 | 5.9873 | 4.1091
| 100 | 5 | 3.7 | 2.05 | 3.7 | 2.05 | 0.20893 | 5.9873 | 4.1091 | 10.0964 | 1.4571
507077 | 100 | 5 | 6.1 | 3.4 | 6.1 | 3.4 | 0.20893 | 9.7975 | 6.9478 | 16.7453 | 1.4101 | 9.7068 | 6.6692
| 100 | 5 | 5.9 | 3.25 | 5.9 | 3.25 | 0.20893 | 9.616 | 6.3905 | 16.0066 | 1.5047
507078 | 100 | 5 | 3.25 | 1.85 | 3.25 | 1.85 | 0.20893 | 5.0802 | 4.0313 | 9.1114 | 1.2602 | 4.9895 | 3.8757
| 100 | 5 | 3.1 | 1.75 | 3.1 | 1.75 | 0.20893 | 4.8987 | 3.7202 | 8.6189 | 1.3168
507080 | 100 | 8 | 4 | 3.1 | 4 | 3.1 | 0.0021853 | 0.034158 | 0.12553 | 0.15969 | 0.27211 | 0.037005 | 0.11753
| 100 | 8 | 3.95 | 2.9 | 3.95 | 2.9 | 0.0021853 | 0.039851 | 0.10954 | 0.14939 | 0.36382
507081 | 100 | 5 | 4.4 | 2.4 | 4.4 | 2.4 | 0.20893 | 7.2574 | 4.5628 | 11.8202 | 1.5905 | 6.9852 | 4.4656
| 100 | 5 | 4.1 | 2.25 | 4.1 | 2.25 | 0.20893 | 6.7131 | 4.3684 | 11.0815 | 1.5367
507082 | 100 | 4 | 3.1 | 1.65 | 3.1 | 1.65 | 0.67233 | 16.9315 | 9.2187 | 26.1502 | 1.8366 | 16.9315 | 9.2187 | replicate looks like it was switched with next id (507083). Switched sample ID to reflect values.
| 100 | 4 | 3.1 | 1.65 | 3.1 | 1.65 | 0.67233 | 16.9315 | 9.2187 | 26.1502 | 1.8366
507083 | 100 | 4 | 3.3 | 1.75 | 3.3 | 1.75 | 0.67233 | 18.0991 | 9.6359 | 27.735 | 1.8783 | 18.0991 | 9.6359 | replicate looks like it was switched with previous id (507082). Switched sample ID to reflect values.
| 100 | 4 | 3.3 | 1.75 | 3.3 | 1.75 | 0.67233 | 18.0991 | 9.6359 | 27.735 | 1.8783
507085 | 100 | 8 | 3.9 | 2.8 | 3.9 | 2.8 | 0.0021853 | 0.041749 | 0.10249 | 0.14424 | 0.40736 | 0.045544 | 0.12702
| 100 | 8 | 5.2 | 3.9 | 5.2 | 3.9 | 0.0021853 | 0.04934 | 0.15156 | 0.2009 | 0.32554
507086 | 100 | 5 | 2.15 | 1.25 | 2.15 | 1.25 | 0.20893 | 3.2658 | 2.8905 | 6.1564 | 1.1298 | 3.2658 | 2.7674
| 100 | 5 | 2.1 | 1.2 | 2.1 | 1.2 | 0.20893 | 3.2658 | 2.6443 | 5.9101 | 1.235
507087 | 100 | 4 | 2.1 | 1.1 | 2.1 | 1.1 | 0.67233 | 11.6769 | 5.7566 | 17.4334 | 2.0284 | 11.6769 | 5.7566
| 100 | 4 | 2.1 | 1.1 | 2.1 | 1.1 | 0.67233 | 11.6769 | 5.7566 | 17.4334 | 2.0284
507088 | 100 | 5 | 3.7 | 2 | 3.7 | 2 | 0.20893 | 6.1688 | 3.6814 | 9.8502 | 1.6757 | 6.8038 | 3.9083
| 100 | 5 | 4.4 | 2.35 | 4.4 | 2.35 | 0.20893 | 7.4388 | 4.1351 | 11.574 | 1.7989
507090 | 100 | 8 | 5.1 | 4.05 | 5.1 | 4.05 | 0.0021853 | 0.039851 | 0.16878 | 0.20863 | 0.23612 | 0.041749 | 0.1643
| 100 | 8 | 5.1 | 3.95 | 5.1 | 3.95 | 0.0021853 | 0.043647 | 0.15983 | 0.20348 | 0.27308
507091 | 100 | 6 | 3.3 | 1.85 | 3.3 | 1.85 | 0.059029 | 1.4865 | 1.0877 | 2.5742 | 1.3667 | 1.4609 | 1.1481
| 100 | 6 | 3.3 | 1.9 | 3.3 | 1.9 | 0.059029 | 1.4353 | 1.2085 | 2.6438 | 1.1876
507092 | 100 | 4 | 3.45 | 1.7 | 3.45 | 1.7 | 0.67233 | 20.4345 | 6.5081 | 26.9426 | 3.1399 | 21.0184 | 6.7167
| 100 | 4 | 3.65 | 1.8 | 3.65 | 1.8 | 0.67233 | 21.6022 | 6.9252 | 28.5274 | 3.1193
507093 | 100 | 4 | 3.2 | 1.65 | 3.2 | 1.65 | 0.67233 | 18.0991 | 8.051 | 26.1502 | 2.2481 | 20.7264 | 8.1972
| 100 | 4 | 4 | 2 | 4 | 2 | 0.67233 | 23.3537 | 8.3434 | 31.6972 | 2.7991
507095 | 100 | 8 | 4.65 | 3.25 | 4.65 | 3.25 | 0.0021853 | 0.053135 | 0.11428 | 0.16742 | 0.46495 | 0.055033 | 0.1111
| 100 | 8 | 4.7 | 3.2 | 4.7 | 3.2 | 0.0021853 | 0.05693 | 0.10791 | 0.16484 | 0.52757
507096 | 100 | 4 | 2.95 | 1.45 | 2.95 | 1.45 | 0.67233 | 17.5153 | 5.4651 | 22.9804 | 3.2049 | 17.5153 | 5.8614
| 100 | 4 | 3 | 1.5 | 3 | 1.5 | 0.67233 | 17.5153 | 6.2576 | 23.7729 | 2.7991
507097 | 100 | 4 | 5 | 2.5 | 5 | 2.5 | 0.67233 | 29.1922 | 10.4293 | 39.6214 | 2.7991 | 29.1922 | 10.4293
| 100 | 4 | 5 | 2.5 | 5 | 2.5 | 0.67233 | 29.1922 | 10.4293 | 39.6214 | 2.7991
507098 | 100 | 4 | 6.35 | 3.15 | 6.35 | 3.15 | 0.67233 | 37.366 | 12.5571 | 49.923 | 2.9757 | 37.9498 | 12.7657
| 100 | 4 | 6.55 | 3.25 | 6.55 | 3.25 | 0.67233 | 38.5336 | 12.9742 | 51.5079 | 2.97
507100 | 100 | 8 | 4.9 | 3.55 | 4.9 | 3.55 | 0.0021853 | 0.051237 | 0.13163 | 0.18287 | 0.38924 | 0.059777 | 0.15787
| 100 | 8 | 6.7 | 4.9 | 6.7 | 4.9 | 0.0021853 | 0.068316 | 0.1841 | 0.25241 | 0.37109 |  |  | evaporated sample ~7ml left
507101 | 100 | 5 | 5.1 | 2.6 | 5.1 | 2.6 | 0.20893 | 9.0717 | 3.7335 | 12.8052 | 2.4298 | 9.0717 | 3.7335
| 100 | 5 | 5.1 | 2.6 | 5.1 | 2.6 | 0.20893 | 9.0717 | 3.7335 | 12.8052 | 2.4298
507102 | 100 | 4 | 6.4 | 3.25 | 6.4 | 3.25 | 0.67233 | 36.7821 | 14.7258 | 51.5079 | 2.4978 | 36.7821 | 14.7258
| 100 | 4 | 6.4 | 3.25 | 6.4 | 3.25 | 0.67233 | 36.7821 | 14.7258 | 51.5079 | 2.4978
507103 | 100 | 4 | 7.45 | 3.8 | 7.45 | 3.8 | 0.67233 | 42.6205 | 17.6041 | 60.2246 | 2.4211 | 42.9125 | 15.7273
| 100 | 4 | 7.3 | 3.6 | 7.3 | 3.6 | 0.67233 | 43.2044 | 13.8505 | 57.0549 | 3.1193

## Final Values Only
Mission: BCD2025667
CHLOROPHYLL CALCULATION - various programs
Turner Designs Fluorometer #AZMP_03
CALIBRATION: June 26 2025 (MP)
| Std Filtered |  |  |  | Blk Corrected
SAMPLE_ID | VOLUME | RANGE | Rb | Ra | Rb | Ra | CAL.COEF | CHL. | PHAE. | C+P | CHL/P. | MEAN C | MEAN P | Comments