## Working sheet
Mission: BCD2025667
CHLOROPHYLL CALCULATION - various programs
Turner Designs Fluorometer #AZMP_03
CALIBRATION: June 26 2025 (MP)
Rb/Ra= | [6 empty] | Range | Cal.coef/Slope
2.3573 | [6 empty] | 1 | 51.7834
1.7368 | [6 empty] | 2 | 14.9847
1.7368 | [6 empty] | 3 | 3.0739
[7 empty] | 4 | 0.67233
BLANKS | [6 empty] | 5 | 0.20893
Range | Value | Range | Value |  |  |  | 6 | 0.059029
1 | 0 | 5 | 0 |  |  |  | 7 | 0.021015
2 | 0 | 6 | 0 |  |  |  | 8 | 0.0021853
3 | 0 | 7 | 0
4 | 0 | 8 | 0
| Std Filtered |  |  |  | Blk Corrected
SAMPLE_ID | VOLUME | RANGE | Rb | Ra | Rb | Ra | CAL.COEF | CHL. | PHAE. | C+P | CHL/P. | MEAN C | MEAN P | Comments
500970 | 100 | 7 | 4.8 | 2.6 | 4.8 | 2.6 | 0.021015 | 0.80296 | 0.48502 | 1.288 | 1.6555 | 0.77559 | 0.47524
| 100 | 7 | 4.5 | 2.45 | 4.5 | 2.45 | 0.021015 | 0.74822 | 0.46546 | 1.2137 | 1.6075
500968 | 100 | 6 | 2.75 | 1.4 | 2.75 | 1.4 | 0.059029 | 1.384 | 0.56403 | 1.948 | 2.4538 | 1.384 | 0.56403
| 100 | 6 | 2.75 | 1.4 | 2.75 | 1.4 | 0.059029 | 1.384 | 0.56403 | 1.948 | 2.4538
500967 | 100 | 6 | 3.45 | 1.8 | 3.45 | 1.8 | 0.059029 | 1.6916 | 0.81305 | 2.5046 | 2.0805 | 1.871 | 0.91194
| 100 | 6 | 4.2 | 2.2 | 4.2 | 2.2 | 0.059029 | 2.0504 | 1.0108 | 3.0612 | 2.0284
507140 | 100 | 8 | 1.4 | 0.85 | 1.4 | 0.85 | 0.0021853 | 0.020874 | 0.022912 | 0.043786 | 0.91109 | 0.023721 | 0.022641
| 100 | 8 | 1.65 | 0.95 | 1.65 | 0.95 | 0.0021853 | 0.026568 | 0.02237 | 0.048937 | 1.1876
507141 | 100 | 6 | 2.6 | 1.5 | 2.6 | 1.5 | 0.059029 | 1.1277 | 0.95947 | 2.0872 | 1.1753 | 1.1533 | 0.93384
| 100 | 6 | 2.65 | 1.5 | 2.65 | 1.5 | 0.059029 | 1.179 | 0.90821 | 2.0872 | 1.2981
507142 | 100 | 6 | 4.65 | 2.5 | 4.65 | 2.5 | 0.059029 | 2.2042 | 1.2745 | 3.4786 | 1.7295 | 2.2042 | 1.2049
| 100 | 6 | 4.55 | 2.4 | 4.55 | 2.4 | 0.059029 | 2.2042 | 1.1353 | 3.3395 | 1.9414
507143 | 100 | 6 | 4.1 | 2.2 | 4.1 | 2.2 | 0.059029 | 1.9479 | 1.1133 | 3.0612 | 1.7496 | 2.0504 | 1.2891
| 100 | 6 | 4.7 | 2.6 | 4.7 | 2.6 | 0.059029 | 2.1529 | 1.4649 | 3.6178 | 1.4697
507145 | 100 | 8 | 4.3 | 2.7 | 4.3 | 2.7 | 0.0021853 | 0.060726 | 0.078359 | 0.13909 | 0.77496 | 0.058828 | 0.075106
| 100 | 8 | 4 | 2.5 | 4 | 2.5 | 0.0021853 | 0.05693 | 0.071852 | 0.12878 | 0.79233
507146 | 100 | 6 | 2.55 | 1.4 | 2.55 | 1.4 | 0.059029 | 1.179 | 0.76907 | 1.948 | 1.533 | 1.1533 | 0.72513
| 100 | 6 | 2.4 | 1.3 | 2.4 | 1.3 | 0.059029 | 1.1277 | 0.68118 | 1.8089 | 1.6555
507147 | 100 | 5 | 4 | 2 | 4 | 2 | 0.20893 | 7.2574 | 2.5928 | 9.8502 | 2.7991 | 7.5295 | 2.69
| 100 | 5 | 4.3 | 2.15 | 4.3 | 2.15 | 0.20893 | 7.8017 | 2.7873 | 10.589 | 2.7991
507148 | 100 | 5 | 5.9 | 2.9 | 5.9 | 2.9 | 0.20893 | 10.8861 | 3.3967 | 14.2828 | 3.2049 | 10.7046 | 3.8244
| 100 | 5 | 5.9 | 3 | 5.9 | 3 | 0.20893 | 10.5232 | 4.2521 | 14.7753 | 2.4748
507155 | 100 | 6 | 3.6 | 1.85 | 3.6 | 1.85 | 0.059029 | 1.7941 | 0.78011 | 2.5742 | 2.2998 | 1.7941 | 0.91925
| 100 | 6 | 3.8 | 2.05 | 3.8 | 2.05 | 0.059029 | 1.7941 | 1.0584 | 2.8525 | 1.6951
507156 | 100 | 5 | 4 | 2 | 4 | 2 | 0.20893 | 7.2574 | 2.5928 | 9.8502 | 2.7991 | 7.5295 | 2.4438
| 100 | 5 | 4.2 | 2.05 | 4.2 | 2.05 | 0.20893 | 7.8017 | 2.2948 | 10.0964 | 3.3998
507157 | 100 | 5 | 5 | 2.5 | 5 | 2.5 | 0.20893 | 9.0717 | 3.241 | 12.3127 | 2.7991 | 9.1625 | 3.1503
| 100 | 5 | 5.05 | 2.5 | 5.05 | 2.5 | 0.20893 | 9.2532 | 3.0596 | 12.3127 | 3.0243
507158 | 100 | 5 | 4.05 | 2 | 4.05 | 2 | 0.20893 | 7.4388 | 2.4114 | 9.8502 | 3.0849 | 6.8038 | 2.3076
| 100 | 5 | 3.4 | 1.7 | 3.4 | 1.7 | 0.20893 | 6.1688 | 2.2039 | 8.3727 | 2.7991
507160 | 100 | 7 | 2.7 | 1.7 | 2.7 | 1.7 | 0.021015 | 0.36498 | 0.47716 | 0.84214 | 0.76491 | 0.37411 | 0.45565
| 100 | 7 | 2.7 | 1.65 | 2.7 | 1.65 | 0.021015 | 0.38323 | 0.43414 | 0.81737 | 0.88274
507161 | 100 | 7 | 6.5 | 3.55 | 6.5 | 3.55 | 0.021015 | 1.0767 | 0.68189 | 1.7586 | 1.579 | 1.1041 | 0.70406
| 100 | 7 | 6.85 | 3.75 | 6.85 | 3.75 | 0.021015 | 1.1314 | 0.72622 | 1.8577 | 1.558
507162 | 100 | 5 | 3.5 | 1.8 | 3.5 | 1.8 | 0.20893 | 6.1688 | 2.6964 | 8.8652 | 2.2878 | 6.2595 | 2.4825
| 100 | 5 | 3.5 | 1.75 | 3.5 | 1.75 | 0.20893 | 6.3502 | 2.2687 | 8.6189 | 2.7991
507163 | 100 | 6 | 5.8 | 2.95 | 5.8 | 2.95 | 0.059029 | 2.9218 | 1.183 | 4.1048 | 2.4698 | 3.2037 | 1.1446
| 100 | 6 | 6.7 | 3.3 | 6.7 | 3.3 | 0.059029 | 3.4857 | 1.1062 | 4.5918 | 3.1512
507165 | 100 | 8 | 5.65 | 3.85 | 5.65 | 3.85 | 0.0021853 | 0.068316 | 0.13001 | 0.19833 | 0.52548 | 0.064521 | 0.13252
| 100 | 8 | 5.4 | 3.8 | 5.4 | 3.8 | 0.0021853 | 0.060726 | 0.13502 | 0.19575 | 0.44974
507166 | 100 | 6 | 3.7 | 2 | 3.7 | 2 | 0.059029 | 1.7428 | 1.0401 | 2.7829 | 1.6757 | 1.7172 | 1.0657
| 100 | 6 | 3.65 | 2 | 3.65 | 2 | 0.059029 | 1.6916 | 1.0913 | 2.7829 | 1.55
507167 | 100 | 6 | 3.5 | 1.9 | 3.5 | 1.9 | 0.059029 | 1.6403 | 1.0035 | 2.6438 | 1.6347 | 1.6916 | 1.0218
| 100 | 6 | 3.7 | 2 | 3.7 | 2 | 0.059029 | 1.7428 | 1.0401 | 2.7829 | 1.6757
507168 | 100 | 6 | 3 | 1.65 | 3 | 1.65 | 0.059029 | 1.384 | 0.91189 | 2.2959 | 1.5177 | 1.4609 | 0.86979
| 100 | 6 | 3.2 | 1.7 | 3.2 | 1.7 | 0.059029 | 1.5378 | 0.82769 | 2.3655 | 1.8579
500966 | 100 | 6 | 4.1 | 2.2 | 4.1 | 2.2 | 0.059029 | 1.9479 | 1.1133 | 3.0612 | 1.7496 | 1.9735 | 1.1225
| 100 | 6 | 4.2 | 2.25 | 4.2 | 2.25 | 0.059029 | 1.9991 | 1.1317 | 3.1308 | 1.7666
500965 | 100 | 7 | 5.75 | 3.05 | 5.75 | 3.05 | 0.021015 | 0.98545 | 0.52545 | 1.5109 | 1.8755 | 1.0676 | 0.60433
| 100 | 7 | 6.85 | 3.7 | 6.85 | 3.7 | 0.021015 | 1.1497 | 0.6832 | 1.8329 | 1.6828
500963 | 100 | 5 | 5 | 2.5 | 5 | 2.5 | 0.20893 | 9.0717 | 3.241 | 12.3127 | 2.7991 | 8.5274 | 3.1697
| 100 | 5 | 4.45 | 2.25 | 4.45 | 2.25 | 0.20893 | 7.9831 | 3.0983 | 11.0815 | 2.5766
500962 | 100 | 5 | 2.85 | 1.5 | 2.85 | 1.5 | 0.20893 | 4.8987 | 2.4889 | 7.3876 | 1.9682 | 5.443 | 2.5602
| 100 | 5 | 3.4 | 1.75 | 3.4 | 1.75 | 0.20893 | 5.9873 | 2.6316 | 8.6189 | 2.2752
500961 | 100 | 5 | 3.55 | 1.9 | 3.55 | 1.9 | 0.20893 | 5.9873 | 3.3703 | 9.3577 | 1.7765 | 5.9873 | 3.001
| 100 | 5 | 3.4 | 1.75 | 3.4 | 1.75 | 0.20893 | 5.9873 | 2.6316 | 8.6189 | 2.2752
500960 | 100 | 8 | 6.8 | 3.9 | 6.8 | 3.9 | 0.0021853 | 0.11007 | 0.090835 | 0.2009 | 1.2117 | 0.11196 | 0.081211
| 100 | 8 | 6.6 | 3.6 | 6.6 | 3.6 | 0.0021853 | 0.11386 | 0.071586 | 0.18545 | 1.5905
500958 | 100 | 6 | 5.75 | 3 | 5.75 | 3 | 0.059029 | 2.8193 | 1.3551 | 4.1744 | 2.0805 | 2.8449 | 1.3295
| 100 | 6 | 5.8 | 3 | 5.8 | 3 | 0.059029 | 2.8705 | 1.3038 | 4.1744 | 2.2016
500957 | 100 | 5 | 3.05 | 1.6 | 3.05 | 1.6 | 0.20893 | 5.2616 | 2.6185 | 7.8802 | 2.0094 | 5.2616 | 2.8648
| 100 | 5 | 3.15 | 1.7 | 3.15 | 1.7 | 0.20893 | 5.2616 | 3.1111 | 8.3727 | 1.6913
500956 | 100 | 5 | 4.65 | 2.45 | 4.65 | 2.45 | 0.20893 | 7.9831 | 4.0834 | 12.0665 | 1.955 | 7.9831 | 4.0834
Vial almost empty - Sample not read.
500955 | 100 | 8 | 2.5 | 1.8 | 2.5 | 1.8 | 0.0021853 | 0.026568 | 0.066156 | 0.092723 | 0.40159 | 0.027516 | 0.070358
| 100 | 8 | 2.75 | 2 | 2.75 | 2 | 0.0021853 | 0.028465 | 0.074561 | 0.10303 | 0.38177
507153 | 100 | 4 | 5.4 | 2.6 | 5.4 | 2.6 | 0.67233 | 32.6952 | 8.5111 | 41.2063 | 3.8415 | 32.4033 | 9.5954 | value updated and corrected March 9 2026
| 100 | 4 | 5.45 | 2.7 | 5.45 | 2.7 | 0.67233 | 32.1114 | 10.6798 | 42.7912 | 3.0067 |  |  | value updated and corrected March 9 2026
507152 | 100 | 4 | 4.3 | 2.05 | 4.3 | 2.05 | 0.67233 | 26.2729 | 6.2166 | 32.4896 | 4.2262 | 24.8133 | 6.8838 | value updated and corrected March 9 2026
| 100 | 4 | 3.95 | 1.95 | 3.95 | 1.95 | 0.67233 | 23.3537 | 7.551 | 30.9047 | 3.0928 |  |  | value updated and corrected March 9 2026
507151 | 100 | 5 | 3.2 | 1.6 | 3.2 | 1.6 | 0.20893 | 5.8059 | 2.0742 | 7.8802 | 2.7991 | 5.6245 | 2.1325
| 100 | 5 | 3.05 | 1.55 | 3.05 | 1.55 | 0.20893 | 5.443 | 2.1909 | 7.6339 | 2.4844
507150 | 100 | 8 | 3.8 | 2.4 | 3.8 | 2.4 | 0.0021853 | 0.053135 | 0.070496 | 0.12363 | 0.75373 | 0.04934 | 0.074292
| 100 | 8 | 3.6 | 2.4 | 3.6 | 2.4 | 0.0021853 | 0.045544 | 0.078087 | 0.12363 | 0.58325
500973 | 100 | 6 | 3.55 | 1.9 | 3.55 | 1.9 | 0.059029 | 1.6916 | 0.9522 | 2.6438 | 1.7765 | 1.7172 | 0.99614
| 100 | 6 | 3.7 | 2 | 3.7 | 2 | 0.059029 | 1.7428 | 1.0401 | 2.7829 | 1.6757
500972 | 100 | 6 | 3.8 | 2.15 | 3.8 | 2.15 | 0.059029 | 1.6916 | 1.3001 | 2.9916 | 1.3011 | 1.6147 | 1.2726
| 100 | 6 | 3.5 | 2 | 3.5 | 2 | 0.059029 | 1.5378 | 1.2451 | 2.7829 | 1.235
500971 | 100 | 6 | 7.4 | 3.85 | 7.4 | 3.85 | 0.059029 | 3.6394 | 1.7177 | 5.3571 | 2.1188 | 3.7676 | 1.833
| 100 | 6 | 8 | 4.2 | 8 | 4.2 | 0.059029 | 3.8957 | 1.9484 | 5.8441 | 1.9995

## Metadata
March 9 2026 - two samples (507152, 507153) were identified to have incorrect values. Updated and corrected on March 9 2026