## Working sheet
Mission: BCD2025667
CHLOROPHYLL CALCULATION - various programs
Turner Designs Fluorometer #AZMP_03
CALIBRATION: June 26 2025 (MP)
Rb/Ra= | [6 empty] | Range | Cal.coef/Slope
2.3573 | [6 empty] | 1 | 51.7834
1.7368 | [6 empty] | 2 | 14.9847
1.7368 | [6 empty] | 3 | 3.0739
[7 empty] | 4 | 0.67233
BLANKS | [6 empty] | 5 | 0.20893
Range | Value | Range | Value |  |  |  | 6 | 0.059029
1 | 0 | 5 | 0 |  |  |  | 7 | 0.021015
2 | 0 | 6 | 0 |  |  |  | 8 | 0.0021853
3 | 0 | 7 | 0
4 | 0 | 8 | 0
| Std Filtered |  |  |  | Blk Corrected
SAMPLE_ID | VOLUME | RANGE | Rb | Ra | Rb | Ra | CAL.COEF | CHL. | PHAE. | C+P | CHL/P. | MEAN C | MEAN P | Comments
507105 | 100 | 8 | 4.1 | 3.25 | 4.1 | 3.25 | 0.0021853 | 0.032261 | 0.13516 | 0.16742 | 0.23869 | 0.036056 | 0.13265
| 100 | 8 | 4.35 | 3.3 | 4.35 | 3.3 | 0.0021853 | 0.039851 | 0.13014 | 0.16999 | 0.30621
507106 | 100 | 5 | 2.65 | 1.4 | 2.65 | 1.4 | 0.20893 | 4.5359 | 2.3593 | 6.8951 | 1.9226 | 4.0823 | 2.0741
| 100 | 5 | 2.1 | 1.1 | 2.1 | 1.1 | 0.20893 | 3.6287 | 1.7889 | 5.4176 | 2.0284
507107 | 100 | 4 | 3.65 | 1.85 | 3.65 | 1.85 | 0.67233 | 21.0184 | 8.3015 | 29.3199 | 2.5319 | 21.0184 | 7.9053
| 100 | 4 | 3.6 | 1.8 | 3.6 | 1.8 | 0.67233 | 21.0184 | 7.5091 | 28.5274 | 2.7991
507108 | 100 | 4 | 3.75 | 1.85 | 3.75 | 1.85 | 0.67233 | 22.186 | 7.1338 | 29.3199 | 3.11 | 21.3103 | 7.6134
| 100 | 4 | 3.55 | 1.8 | 3.55 | 1.8 | 0.67233 | 20.4345 | 8.0929 | 28.5274 | 2.525
507110 | 100 | 8 | 3.7 | 3 | 3.7 | 3 | 0.0021853 | 0.026568 | 0.12797 | 0.15454 | 0.2076 | 0.034158 | 0.13583
| 100 | 8 | 4.7 | 3.6 | 4.7 | 3.6 | 0.0021853 | 0.041749 | 0.1437 | 0.18545 | 0.29053
507111 | 100 | 5 | 5.3 | 3 | 5.3 | 3 | 0.20893 | 8.346 | 6.4293 | 14.7753 | 1.2981 | 8.2553 | 6.6431
| 100 | 5 | 5.3 | 3.05 | 5.3 | 3.05 | 0.20893 | 8.1646 | 6.857 | 15.0215 | 1.1907
507112 | 100 | 5 | 7.3 | 3.9 | 7.3 | 3.9 | 0.20893 | 12.3376 | 6.8703 | 19.2079 | 1.7958 | 12.519 | 6.812
| 100 | 5 | 7.45 | 3.95 | 7.45 | 3.95 | 0.20893 | 12.7004 | 6.7537 | 19.4541 | 1.8805
507113 | 100 | 5 | 7.7 | 4.1 | 7.7 | 4.1 | 0.20893 | 13.0633 | 7.1296 | 20.1929 | 1.8323 | 12.7911 | 7.2786
| 100 | 5 | 7.5 | 4.05 | 7.5 | 4.05 | 0.20893 | 12.519 | 7.4276 | 19.9466 | 1.6855
507115 | 100 | 8 | 4.75 | 3.8 | 4.75 | 3.8 | 0.0021853 | 0.036056 | 0.15969 | 0.19575 | 0.22578 | 0.030363 | 0.11001
| 100 | 8 | 2.3 | 1.65 | 2.3 | 1.65 | 0.0021853 | 0.02467 | 0.060327 | 0.084997 | 0.40894
507116 | 100 | 4 | 3.7 | 1.9 | 3.7 | 1.9 | 0.67233 | 21.0184 | 9.0939 | 30.1123 | 2.3112 | 21.0184 | 9.0939
| 100 | 4 | 3.7 | 1.9 | 3.7 | 1.9 | 0.67233 | 21.0184 | 9.0939 | 30.1123 | 2.3112
507117 | 100 | 4 | 4.45 | 2.2 | 4.45 | 2.2 | 0.67233 | 26.2729 | 8.5939 | 34.8669 | 3.0571 | 25.981 | 8.8859
| 100 | 4 | 4.4 | 2.2 | 4.4 | 2.2 | 0.67233 | 25.6891 | 9.1778 | 34.8669 | 2.7991
507118 | 100 | 4 | 4.2 | 2.15 | 4.2 | 2.15 | 0.67233 | 23.9376 | 10.1369 | 34.0744 | 2.3614 | 24.2295 | 9.4487
| 100 | 4 | 4.2 | 2.1 | 4.2 | 2.1 | 0.67233 | 24.5214 | 8.7606 | 33.282 | 2.7991
507120 | 100 | 7 | 3.05 | 2.2 | 3.05 | 2.2 | 0.021015 | 0.31024 | 0.7796 | 1.0898 | 0.39794 | 0.20987 | 0.63228
| 100 | 7 | 1.5 | 1.2 | 1.5 | 1.2 | 0.021015 | 0.10949 | 0.48496 | 0.59445 | 0.22578
507121 | 100 | 6 | 6.75 | 3.7 | 6.75 | 3.7 | 0.059029 | 3.1268 | 2.0216 | 5.1484 | 1.5468 | 3.1012 | 2.0472
| 100 | 6 | 6.7 | 3.7 | 6.7 | 3.7 | 0.059029 | 3.0756 | 2.0728 | 5.1484 | 1.4838
507122 | 100 | 6 | 6 | 3.45 | 6 | 3.45 | 0.059029 | 2.6142 | 2.1863 | 4.8005 | 1.1957 | 2.5886 | 1.9684
| 100 | 6 | 5.6 | 3.1 | 5.6 | 3.1 | 0.059029 | 2.563 | 1.7505 | 4.3135 | 1.4641
507123 | 100 | 6 | 5.8 | 3.3 | 5.8 | 3.3 | 0.059029 | 2.563 | 2.0288 | 4.5918 | 1.2633 | 2.4605 | 1.9922
| 100 | 6 | 5.4 | 3.1 | 5.4 | 3.1 | 0.059029 | 2.3579 | 1.9556 | 4.3135 | 1.2058
507125 | 100 | 8 | 5.6 | 4.25 | 5.6 | 4.25 | 0.0021853 | 0.051237 | 0.16769 | 0.21893 | 0.30554 | 0.055033 | 0.17162
| 100 | 8 | 6.1 | 4.55 | 6.1 | 4.55 | 0.0021853 | 0.058828 | 0.17556 | 0.23438 | 0.3351
507126 | 100 | 7 | 6.3 | 3.4 | 6.3 | 3.4 | 0.021015 | 1.0585 | 0.62584 | 1.6843 | 1.6913 | 1.0676 | 0.66625
| 100 | 7 | 6.55 | 3.6 | 6.55 | 3.6 | 0.021015 | 1.0767 | 0.70666 | 1.7834 | 1.5236
507127 | 100 | 7 | 7.05 | 3.85 | 7.05 | 3.85 | 0.021015 | 1.1679 | 0.73926 | 1.9072 | 1.5799 | 1.1497 | 0.70797
| 100 | 7 | 6.75 | 3.65 | 6.75 | 3.65 | 0.021015 | 1.1314 | 0.67668 | 1.8081 | 1.672
507128 | 100 | 7 | 5.85 | 3.2 | 5.85 | 3.2 | 0.021015 | 0.96721 | 0.61801 | 1.5852 | 1.565 | 0.95808 | 0.57759
| 100 | 7 | 5.6 | 3 | 5.6 | 3 | 0.021015 | 0.94896 | 0.53718 | 1.4861 | 1.7666
507130 | 100 | 8 | 2.85 | 2.45 | 2.85 | 2.45 | 0.0021853 | 0.015181 | 0.11103 | 0.12621 | 0.13674 | 0.017079 | 0.10269
| 100 | 8 | 2.7 | 2.2 | 2.7 | 2.2 | 0.0021853 | 0.018977 | 0.094352 | 0.11333 | 0.20113
507131 | 100 | 7 | 6.9 | 3.7 | 6.9 | 3.7 | 0.021015 | 1.1679 | 0.66495 | 1.8329 | 1.7564 | 1.2044 | 0.66561
| 100 | 7 | 7.25 | 3.85 | 7.25 | 3.85 | 0.021015 | 1.2409 | 0.66626 | 1.9072 | 1.8625
507132 | 100 | 7 | 7.25 | 3.85 | 7.25 | 3.85 | 0.021015 | 1.2409 | 0.66626 | 1.9072 | 1.8625 | 1.2592 | 0.73471
| 100 | 7 | 7.7 | 4.2 | 7.7 | 4.2 | 0.021015 | 1.2774 | 0.80315 | 2.0806 | 1.5905
507133 | 100 | 7 | 7 | 3.7 | 7 | 3.7 | 0.021015 | 1.2044 | 0.62846 | 1.8329 | 1.9165 | 1.1953 | 0.66235
| 100 | 7 | 7.05 | 3.8 | 7.05 | 3.8 | 0.021015 | 1.1862 | 0.69624 | 1.8824 | 1.7037
507135 | 100 | 8 | 3.25 | 2.5 | 3.25 | 2.5 | 0.0021853 | 0.028465 | 0.10032 | 0.12878 | 0.28375 | 0.026568 | 0.099639
| 100 | 8 | 3.05 | 2.4 | 3.05 | 2.4 | 0.0021853 | 0.02467 | 0.098961 | 0.12363 | 0.24929
507136 | 100 | 7 | 5.75 | 3.4 | 5.75 | 3.4 | 0.021015 | 0.85771 | 0.82658 | 1.6843 | 1.0377 | 0.86684 | 0.79268
| 100 | 7 | 5.7 | 3.3 | 5.7 | 3.3 | 0.021015 | 0.87596 | 0.75879 | 1.6347 | 1.1544
507137 | 100 | 6 | 4 | 2.2 | 4 | 2.2 | 0.059029 | 1.8453 | 1.2159 | 3.0612 | 1.5177 | 1.8197 | 1.2415
| 100 | 6 | 3.95 | 2.2 | 3.95 | 2.2 | 0.059029 | 1.7941 | 1.2671 | 3.0612 | 1.4159
507138 | 100 | 6 | 3.8 | 2.1 | 3.8 | 2.1 | 0.059029 | 1.7428 | 1.1792 | 2.9221 | 1.4779 | 1.7685 | 1.1884
| 100 | 6 | 3.9 | 2.15 | 3.9 | 2.15 | 0.059029 | 1.7941 | 1.1975 | 2.9916 | 1.4981